## Slide 1
Spatial isolation of ions
separated in multi-reflection
time-of-flight mass analyzers
Mikhail Yavor1, Kirill Koval2
1Institute for analytical instrumentation RAS
St. Petersburg, Russia
2Peter the Great Polytechnical University
St. Petersburg, Russia

## Slide 2
Y
X
Z
tan α = vx/vz
tan ß = vy/vz
K = mv2/2
K+ΔK=K(1+δ)
δ=ΔK/K
T
t
x
y
t
I
m
m+Δm
t
I
m
m+Δm
Time-of flight mass analyzers

## Slide 3
t
I
m
m+Δm
(dT/dm)Δm
Δt
Mass resolving power
Flight time
Time resolution
Typical time resolution is 1 – 4 ns
To increase flight time, multi-reflection TOF analyzers are used:
Ions are injected into an electrostatic trap and make several turns in it

## Slide 4
Multi-reflection time-of flight mass analyzers
Modes of operation
Advantages:
Possibility to analyze short-lives ions (down to 50 ms life time)
High mass resolving power (up to 1 000 000)
MR TOF analyzers are used in many nuclear physics facilities:
GSI (Darmstadt, Germany), TRIUMF (Vancouver, Canada), GANIL (France), RIKEN (Japan), and others
Spectrometer
Recording flight time by a TOF detector
to measure the mass of ion
Typical time resolution ~ 2 ns
Separator
Isolating ions with specific TOF (i.e. m/q)
for further studies
What is the time resolution
of ion separation?

## Slide 5
Methods of ion isolation
Using an electric shutter (Bradbury-Nielsen gate)
+
+
+
–
–
–
+
0
0
0
0
0
0
0
0
Time resolution is ~ 20 ns
(flight time + duration of time fronts)
2. In-flight selective ion trapping
U
U
Trap
TOF analyzer
Time resolution is ~ 20 ns
Time resolution of separation is 10 times worse
than of mass analysis!

## Slide 6
New concept of high-resolution spatial ion isolation
Conversion of flight time through the TOF analyzer to the difference of ion energies
Spatial separation of ions by an electrostatic energy analyzer (ESA)
energy buncher/converter
ESA
Ions come to the final time
focus plane of TOF analyzer
at the time t0 (which depends on m/q)
with the energy spread ΔK
Energy buncher/converter
1. eliminates the energy spread ΔK for a fixed t0
2. creates the ion energy dependence on the time moment t0
ESA creates spatial dispersion on energy =>
as function of t0
ions with different t0 can be separated by a slit

## Slide 7
Energy buncher/converter: principle of operation
final time focus plane of the TOF analyzer
Drift space
Homogeneous retarding field
pulsed switching off the retarding field
Ions with the same t0 but larger energies enter the retarding field earlier and
at a fixed time moment t1 of pulsed switching off the field lose more energy.
The condition of eliminating ΔK is
qED = 2K0
The final kinetic energy K1 depends on t0 , t1, and on the ion mass!

## Slide 8
Energy buncher/converter: ion-optical configuration
Retarding field on
Retarding field off
Electrode x_step = 8 mm

## Slide 9
Energy buncher/converter: ion-optical quality
For the same ion mass, the final energy is higher for ions that start from the final
focus plane of the TOF analyzer later.
For the same ion starting time, the final energy is higher for ions of a larger mass.
Since ions of larger masses come to the focus plane later, both effects add.
At high mass resolving power of the TOF MS the energy difference due to the different
starting time dominates.

## Slide 10
Electrostatic energy analyzer
X
Y
Z
optic axis radius 100 mm
z-focusing due to the side terminating electrodes
side terminating electrodes (Matsuda plates)
Simple cylindrical sector field electrostatic
energy analyzer
Pre-retarding in the energy buncher
is performed to the minimal
mean kinetic energy ~ 30 eV
to increase the resolving power
of the energy analyzer

## Slide 11
Resulting spatial separation
Full spatial separation for Δt0 = 4 ns!
Conclusions:
Simulations confirm the 5 times better separator resolution compared with
the BNG gate.
Further improvement of the separation resolution (up to the resolution
of the TOF analyzer) can be achieved by using better quality energy analyzers.

## Slide 12
Prof. Dr. Hans Geissel
(GSI Darmstadt)
1950 – 29.04.2024
Prof. Dr. Gottfried Münzenberg
(GSI Darmstadt)
1940 – 02.01.2024
Dedicated to the memory of

## Slide 13
Thanks for attention!